## Slide 1: Industrial Water Treatment Process
Donna Imelda
Chemical Engineering Department Jayabaya University

## Slide 2: Tujuan
Secara Fisika
  Memisahkan padatan kasar dan terapung
  Memisahkan padatan tersuspensi
  Memisahkan lemak
Secara Kimia
  Pengendapan zat-zat terlarut dengan menggunakan koagulan
  Menghilangkan zat-zat racun dan bibit-bibit penyakit
  Menghilangkan bau dan rasa

## Slide 3
Pre Treatment
Koagulasi
Flokulasi
Sedimentasi
Filtrasi
Softening
Industrial Water Treatment Process

## Slide 4: Pre-Treatment
Industrial Water Treatment Process

## Slide 5: Pre Treatment
Bar Screen
Aeration

## Slide 6: Koagulasi & Flokulasi
Industrial Water Treatment Process

## Slide 11: Sedimentasi
Industrial Water Treatment Process

## Slide 14: Clarifier Tank

## Slide 17: Filtrasi
Industrial Water Treatment Process

## Slide 22: Softening
Industrial Water Treatment Process

## Slide 27: See you on the next class!
Donna Imelda

## Slide 28: Video Sources
Water Treatment | Coagulant Aids
  https://www.youtube.com/watch?v=TqtcExb6IVc
Flocculation
  https://www.youtube.com/watch?v=eST7k0lSICw
  https://www.youtube.com/watch?v=R5smisHPqWk
Slow Sand Filter
  https://www.youtube.com/watch?v=fBKlXDx6txo
Coagulation n flocculation Basic
  https://www.youtube.com/watch?v=qV_1jfmhpnA
Lime Softening
  https://www.youtube.com/watch?v=4nYhnRCN3aI
All things water course
  https://www.youtube.com/watch?v=sb_heMM5vzs
Back washing
  https://www.youtube.com/watch?v=PjLqYmjsIuk
Water Treatment
  https://www.youtube.com/watch?v=9z14l51ISwg
  https://www.youtube.com/watch?v=0_ZcCqqpS2o&t=136s
  https://www.youtube.com/watch?v=3WEbeSp2erM