## Slide 1: Energi Terbarukan
Dosen Pengampu:
Frida Hasana, S.Pd. M.Eng.
Pertemuan 4:
Nuklir

## Slide 2: Nuclear Power
Acquired and Modified from:
Master of Electrical Engineering – UGM, Husni Rois Ali, , S.T., M.Eng., Ph.D., DIC., SMIEEE.

## Slide 3: Current World Demand for Electricity

## Slide 4: Past Demand by Country

## Slide 5: U.S. Nuclear Plant Capacity Factors
http://www.nei.org/

## Slide 6: U.S. Nuclear Production Costs

## Slide 7: U.S. Electricity Production Costs (in constant 2004 cents/kWh )
Source: Energy Velocity / EUCG

## Slide 8: Emission-Free Sources of Electricity
Source: Energy Information Administration
73.1%
24.2%
1.3%
1.0%
0.1%

## Slide 9: Basics of a Power Plant
The basic premises for the majority of power plants is to:
  1) Create heat
  2) Boil Water
  3) Use steam to turn a turbine
  4) Use turbine to turn generator
  5) Produce Electricity
Some other power producing technologies work differently (e.g., solar, wind, hydroelectric, …)

## Slide 10: Nuclear Power Plants use the Rankine Cycle

## Slide 11: Create Heat
Heat may be created by:
  Burning coal
  Burning oil
  Other combustion
  Nuclear fission
1) oil, coal or gas
2) heat
3) steam
4) turbine
5) generator
6) electricity
7) cold water
8) waste heat water
9) condenser

## Slide 12: Boil Water
The next process it to create steam.
The steam is necessary to turn the turbine.
Westinghouse Steam Generator

## Slide 13: Turbine
Steam turns the turbine

## Slide 14: Generator
As the generator is turned, it creates electricity.

## Slide 15: Nuclear reactor

## Slide 16: Heat From Fission

## Slide 17: Fission Chain Reaction

## Slide 18: Current Commercial Nuclear Reactor Designs
Pressurized Water Reactor (PWR)
Boiling Water Reactor (BWR)
Gas Cooled Fast Reactor
Pressurized Heavy Water Reactor (CANDU)
Light Water Graphite Reactor (RBMK)
Fast Neutron Reactor (FBR)

## Slide 19: The Current Nuclear Industry

## Slide 20: Nuclear Reactors Around the World

## Slide 21
PWR

## Slide 22
BWR

## Slide 23
HTGR

## Slide 24
CANDU-PHWR
Deuterium oxide D2O

## Slide 25
PTGR
Note: this is a RBMK reactor design as made famous at Chernoybl.

## Slide 26
LMFBR

## Slide 27: Nuclear Fuel Cycle
Uranium Mining and Milling
Conversion to UF6
Enrichment
Fuel Fabrication
Power Reactors
Waste repository

## Slide 28: Nuclear Fuel Cycle with Reprocessing

## Slide 29: Future Reactor Designs
Research is currently being conducted for design of the next generation of nuclear reactor designs.
The next generation designs focus on:
  Proliferation resistance of fuel
  Passive safety systems
  Improved fuel efficiency (includes breeding)
  Minimizing nuclear waste
  Improved plant efficiency (e.g., Brayton cycle)
  Hydrogen production
  Economics

## Slide 30: Policy Issues
Many policy issues exist that affect the viability of the future of nuclear power:
  Licensing
  Risk insurance
  Reprocessing of spent nuclear fuel
  Nuclear waste repository
  Next generation reactor research
  Incorporation of hydrogen production into nuclear fuel cycle
  University nuclear engineering programs

## Slide 31: Conclusions
So, what does the future hold?
  The demand for electrical power will continue to increase.
  The world reserves of fossil fuels are limited.
  Modern nuclear power plant designs are more inherently safe and may be constructed with less capital cost.
  Fossil fuel-based electricity is projected to account for more than 40% of global greenhouse gas emissions by 2020.
A 2003 study by MIT predicted that nuclear power growth of three fold will be necessary by 2050.
U.S. Government has voiced strong support for nuclear power production.

## Slide 32: END
32